|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Assay** | **Forward** | **Reverse** | **Probe** | **Reference** |
| CDC N1 | GACCCCAAAATCAGCGAAAT | TCTGGTTACTGCCAGTTGAATCTG | FAM-ACCCCGCATTACGTTTGGTGGACC-BHQ-1 | Lu et al., 2020 |
| CDC N2 | TTACAAACATTGGCCGCAAA | GCGCGACATTCCGAAGAA | FAM-ACAATTTGCCCCCAGCGCTTCAG-BHQ-1 | Lu et al., 2020 |
| CDC N3 | GGGAGCCTTGAATACACCAAAA | TGTAGCACGATTGCAGCATTG | HEX-AYCACATTGGCACCCGCAATCCTG-BHQ-1 | Lu et al., 2020 |
| Hepatitis G | CGGCCAAAAGGTGGT GGA TG | CGACGAGCCTGACGTCGGG | FAM- AGGTCCCTCTGGCGCTTGTGGCGAG-BHQ-1 | Cashdollar et al., 2013; EPA Method 1615 |
| BCoV | CTGGAAGTTGGTGGAGTT | ATTATCGGCCTAACATACATC | FAM-CCTTCATAT–Nova–CTATACACATCAAGTTGTT-BHQ | Decaro et al., 2008 |
| BRSV | GCAATGCTGCAGGACTAGGTATAAT | ACACTGTAATTGATGACCCCATTCT | HEX-ACCAAGACT–Nova–TGTATGATGCTGCCAAAGCA-BHQ | Boxus et al., 2005 |

Table 1. Primers and probes used in this study.

References:

Boxus, M., Letellier, C. and Kerkhofs, P., 2005. Real Time RT-PCR for the detection and quantitation of bovine respiratory syncytial virus. *Journal of virological methods*, *125*(2), pp.125-130.

Cashdollar, J.L., Brinkman, N.E., Griffin, S.M., McMinn, B.R., Rhodes, E.R., Varughese, E.A., Grimm, A.C., Parshionikar, S.U., Wymer, L. and Fout, G.S., 2013. Development and evaluation of EPA method 1615 for detection of enterovirus and norovirus in water. *Applied and environmental microbiology*, *79*(1), pp.215-223.

Decaro, N., Elia, G., Campolo, M., Desario, C., Mari, V., Radogna, A., Colaianni, M.L., Cirone, F., Tempesta, M. and Buonavoglia, C., 2008. Detection of bovine coronavirus using a TaqMan-based real-time RT-PCR assay. *Journal of virological methods*, *151*(2), pp.167-171.

Lu, X., Wang, L., Sakthivel, S.K., Whitaker, B., Murray, J., Kamili, S., Lynch, B., Malapati, L., Burke, S.A., Harcourt, J. and Tamin, A., 2020. US CDC Real-Time Reverse Transcription PCR Panel for Detection of Severe Acute Respiratory Syndrome Coronavirus 2. Emerging infectious diseases, 26(8).